## Summary of Bid
PROJECT TITLE: SUPPLY AND DELIVERY OF MATERIALS FOR THE COMPLETION OF PMO BUILDING IN KORONADAL CITY
PROJECT LOCATION: Alunan Avenue, Koronadal City, South Cotabato, Philippines
SUMMARY OF BID
LOT NO. | DESCRIPTION | ABC | BID PRICE
1 | General Hardware Supplies | 693826.05 | 0
2 | Concrete and Masonry Supplies | 242017.6 | 0
3 | Door Supplies | 32450 | 0
4 | Glass Panel Supplies | 6160 | 0
5 | Backfill Soil | 43511.6 | 0
|  | TOTAL BID PRICE | 0
Submitted by:
(Signature over printed name of authorized representative)
(Designation/Title)
(Name of Bidder Agency)

## Lot 1 General Hardware
PROJECT TITLE: SUPPLY AND DELIVERY OF MATERIALS FOR THE COMPLETION OF PMO BUILDING IN KORONADAL CITY
PROJECT LOCATION: Alunan Avenue, Koronadal City, South Cotabato, Philippines
LOT 1 | GENERAL HARDWARE SUPPLIES |  |  |  |  | 0
ITEM NO. | DESCRIPTION | UNIT | QTY. | UNIT PRICE | TOTAL PRICE PER ITEM | TOTAL
1.1 | METAL SUPPLIES |  |  |  |  | 0
1.1.1 | 10mmØ x 6m RSB | 445 | pcs |  | 0
1.1.2 | 12mmØ x 6m RSB | 221 | pcs |  | 0
1.1.3 | 12mm x 6m Square Bar | 24 | pcs |  | 0
1.1.4 | 16.0mmØ x 6m Round bars | 3 | pcs |  | 0
1.1.5 | 1 1/2" flat bar | 11 | pcs |  | 0
1.1.6 | 2"x4"x1.2mmTHKx6mL Steel tubular | 2 | pcs |  | 0
1.1.7 | 2"x2"x5mm THK x6m Steel angle bar | 9 | pcs |  | 0
1.1.8 | 50mm Ø G.I. Pipe Schedule 40 | 6 | pcs |  | 0
1.1.9 | Double furring- .40mmx19mmx 50mmx5.0m | 67 | pcs |  | 0
1.1.10 | Double furring clip | 394 | pcs |  | 0
1.1.11 | Carrying channel- 1.0mmx12mmx 38mmx5.0m | 54 | pcs |  | 0
1.1.12 | Wall angle .50mmx25mmx25mmx3m | 39 | pcs |  | 0
1.1.13 | Suspension clip with rod jointer | 22 | pcs |  | 0
1.1.14 | Twisted hanger | 22 | pcs |  | 0
1.1.15 | GI Pipe 3" Schedule 40 x6m | 2 | pcs |  | 0
1.1.16 | 3'x8' G18 Plain Sheet | 6 | shts |  | 0
1.1.17 | Pre-painted gutter GA 24 (.701mmx2.44m) | 28 | pcs |  | 0
1.1.18 | Pre-painted flashing GA 24 (.701mmx2.44m) | 28 | pcs |  | 0
1.2 | WOOD/PLYWOOD SUPPLIES |  |  |  |  | 0
1.2.1 | 4'x8' 6mm THK Marine Plywood | 66 | pcs |  | 0
1.2.2 | 4'x8' 12mm THK Marine Plywood | 20 | pcs |  | 0
1.2.3 | 4'x8' 19mm THK Marine Plywood | 3 | pcs |  | 0
1.2.4 | 2"x2"x8' KD wood | 6 | pcs |  | 0
1.2.5 | 1/2"x1" KD wood | 7 | pcs |  | 0
1.2.6 | 2"x2"x10' coco lumber | 75 | pcs |  | 0
1.3 | PLUMBING SUPPLIES |  |  |  |  | 0
1.3.1 | 4" Ø x 10' PVC Sanitary pipe | 33 | pcs |  | 0
1.3.2 | 4" Ø PVC Sanitary Wye | 2 | pcs |  | 0
1.3.3 | 4" Ø PVC Elbow 90˚ | 41 | pcs |  | 0
1.3.4 | 4" Ø PVC clean-out plug | 6 | pcs |  | 0
1.3.5 | 4"Ø x 2"Ø PVC Sanitary Wye | 5 | pcs |  | 0
1.3.6 | 4"Ø x 2"Ø PVC Reducer Tee | 2 | pcs |  | 0
1.3.7 | PVC P-trap with plug & sealing ring 50mm | 4 | pcs |  | 0
1.3.8 | PVC Solvent Cement 200cc | 24 | pcs |  | 0
1.3.9 | 4"Ø x 3"Ø PVC Reducer Tee | 2 | pcs |  | 0
1.3.10 | 3"Ø x 2"Ø PVC Reducer Tee | 2 | pcs |  | 0
1.3.11 | 2" Ø x 10' PVC Sanitary pipe | 1 | pcs |  | 0
1.3.12 | 2" Ø x 10' PVC Elbow 90˚ | 3 | pcs |  | 0
1.3.13 | Thread seal tape/Plumber's tape 3/4" | 14 | roll |  | 0
1.3.14 | 3/4" Ø x 10' PVC pipe | 13 | pcs |  | 0
1.3.15 | 3/4" Ø PVC Tee | 6 | pcs |  | 0
1.3.16 | 3/4" Ø PVC Elbow | 12 | pcs |  | 0
1.3.17 | Water Meter Cast iron | 1 | pcs |  | 0
1.3.18 | Gate Valve (ball, 1/2") | 1 | pcs |  | 0
1.3.19 | Water closet with tank and fittings | 1 | set |  | 0
1.3.20 | Lavatory with fittings (wall mounted) | 1 | set |  | 0
1.3.21 | Floor drain 4"x4" | 1 | pc |  | 0
1.3.22 | Urinal with fittings | 1 | set |  | 0
1.3.23 | Shower set (head and valves) | 1 | set |  | 0
1.3.24 | Faucet (bronze) | 7 | pcs |  | 0
1.3.25 | Kitchen sink stainless steel complete with accessories 400mmWx 600mmL | 1 | set |  | 0
1.4 | ELECTRICAL SUPPLIES |  |  |  |  | 0
1.4.1 | Conduit 20mmØ x 3.0m | 36 | pcs |  | 0
1.4.2 | Utility Box 2'x4' | 26 | pcs |  | 0
1.4.3 | Junction Box with cover 4" x 4" | 12 | pcs |  | 0
1.4.4 | 32mmØ x 20' PVC | 6 | pcs |  | 0
1.4.5 | TW #2.0mm² THHN (solid) | 90 | lm |  | 0
1.4.6 | TW #3.5mm² THHN (solid) | 180 | lm |  | 0
1.4.7 | TW #8.0mm² THHN (solid) | 15 | lm |  | 0
1.4.8 | Electrical tape (small).16mmx19mmx8m | 15 | roll |  | 0
1.4.9 | Panel board (10 branches) | 1 | pcs |  | 0
1.4.10 | Convenience Outlet duplex with cover | 10 | pcs |  | 0
1.4.11 | Two-gang switch with cover | 10 | pcs |  | 0
1.4.12 | LED lamp/light-12"x12" flush type 20w daylight | 22 | pcs |  | 0
1.4.13 | Circuit breaker 30A | 10 | pair |  | 0
1.4.14 | ACU outlet 3/4" | 1 | pcs |  | 0
1.4.15 | Ref outlet | 1 | pcs |  | 0
1.4.16 | Range outlet | 1 | pcs |  | 0
1.4.17 | Lighting outlets | 22 | pcs |  | 0
1.4.18 | Electrical tape (small).16mmx19mmx8m | 20 | roll |  | 0
1.4.19 | 25mm Entrance cap | 1 | pcs |  | 0
1.4.20 | 2-5.5mm² THW copper wire | 32 | lm |  | 0
1.4.21 | 1-5.5mm² THW copper wire | 12 | lm |  | 0
1.4.22 | Iron clamp | 4 | pcs |  | 0
1.4.23 | 25mmØ x 20' RSC | 1 | pcs |  | 0
1.4.24 | 1/2" x 10' RSC | 1 | pcs |  | 0
1.4.25 | 3/4" x 10' grounding rod with clamp | 1 | pcs |  | 0
1.5 | TILE SUPPLIES |  |  |  |  | 0
1.5.1 | 400mmx400mm Ceramic Tiles-for office interior | 845 | pcs |  | 0
1.5.2 | 300X300 Ceramic glazed wall tiles-FOR T&B | 94 | pcs |  | 0
1.5.3 | 300X300 Ceramic unglazed floor tiles-FOR T&B | 37 | pcs |  | 0
1.5.4 | 8x8 ceramic tiles-for kitchen counter | 106 | pcs |  | 0
1.5.5 | Tile Grout 2kg | 20 | bags |  | 0
1.5.6 | Tile Adhesive 25kg | 38 | bags |  | 0
1.6 | PAINT SUPPLIES |  |  |  |  | 0
1.6.1 | Permacoat Flat Latex #701 -16L | 6 | pale |  | 0
1.6.2 | Permacoat Semi-gloss Latex #701 -16L | 10 | pale |  | 0
1.6.3 | Primer, Flat Enamel | 3 | pale |  | 0
1.6.4 | Primer, Flat Enamel | 4 | liters |  | 0
1.6.5 | Quick Drying Enamel-semi-gloss 16L | 5 | pale |  | 0
1.6.6 | Quick Drying Enamel-semi-gloss 4L | 4 | gal |  | 0
1.6.7 | Primer, Red oxide 1L | 8 | liters |  | 0
1.6.8 | Paint Thinner | 9 | gal |  | 0
1.6.9 | Paint brush 3" | 1 | pc |  | 0
1.6.10 | Paint brush 2" | 6 | pcs |  | 0
1.6.11 | Paint brush 4" | 10 | pcs |  | 0
1.6.12 | Roller paint brush with tray 12" | 6 | sets |  | 0
1.7 | OTHER SUPPLIES |  |  |  |  | 0
1.7.1 | Old newspaper | 2 | kls |  | 0
1.7.2 | White cotton rugs (round) | 10 | kls |  | 0
1.7.3 | Steel brush (5 lines) | 3 | pcs |  | 0
1.7.4 | Sandpaper (7000 grit)-for metal | 6 | pcs |  | 0
1.7.5 | Sandpaper (150 grit)-for wood | 10 | pcs |  | 0
1.7.6 | Sandpaper (200 grit)-for wood | 10 | pcs |  | 0
1.7.7 | Concrete Epoxy Hi-viscosity | 1 | gal |  | 0
1.7.8 | Spatula 3" | 1 | pcs |  | 0
1.7.9 | Grinding disc 4" | 7 | pcs |  | 0
1.7.10 | SS Piano hinge 1 1/2"x1800mm | 4 | pcs |  | 0
1.7.11 | Catches Lock | 26 | set |  | 0
1.7.12 | Handle-for kitchen cabinet drawer-SS | 12 | pcs |  | 0
1.7.13 | 1" Nail | 4.5 | kls |  | 0
1.7.14 | 3" Concrete nail | 20 | pcs |  | 0
1.7.15 | 1/2" finishing nail | 1 | kls |  | 0
1.7.16 | 4" Nail | 4 | kls |  | 0
1.7.17 | Welding rod-E6011 all purpose | 6 | box |  | 0
1.7.18 | Blind Rivets | 1900 | pcs |  | 0
1.7.19 | GA 16 Tie Wire | 69 | kls |  | 0
1.7.20 | Pillow block hinge 2" for gate | 6 | pcs |  | 0

## Lot 2 Concrete and Masonry
PROJECT TITLE: SUPPLY AND DELIVERY OF MATERIALS FOR THE COMPLETION OF PMO BUILDING IN KORONADAL CITY
PROJECT LOCATION: Alunan Avenue, Koronadal City, South Cotabato, Philippines
LOT 2 | CONCRETE AND MASONRY SUPPLIES |  |  |  | 0
ITEM NO. | DESCRIPTION | UNIT | QTY. | UNIT PRICE | TOTAL PRICE PER ITEM
2.1 | Cement (Portland) | 400 | bags |  | 0
2.2 | Sand | 39 | cu.m. |  | 0
2.3 | Gravel | 38 | cu.m. |  | 0
2.4 | 4" Concrete Hollow Blocks | 3048 | pcs |  | 0

## Lot 3 Doors
PROJECT TITLE: SUPPLY AND DELIVERY OF MATERIALS FOR THE COMPLETION OF PMO BUILDING IN KORONADAL CITY
PROJECT LOCATION: Alunan Avenue, Koronadal City, South Cotabato, Philippines
LOT 3 | DOOR SUPPLIES |  |  |  | 0
ITEM NO. | DESCRIPTION | UNIT | QTY. | UNIT PRICE | TOTAL PRICE PER ITEM
3.1 | Solid wood panel door with jamb | 4 | sets |  | 0
3.2 | Flush door hollow core PVC | 1 | sets |  | 0
3.3 | Door lockset-tubular knob lock SS | 4 | sets |  | 0
3.4 | Door Butt Hinge 4" SS | 12 | pcs |  | 0

## Lot 4 Glass Panel
PROJECT TITLE: SUPPLY AND DELIVERY OF MATERIALS FOR THE COMPLETION OF PMO BUILDING IN KORONADAL CITY
PROJECT LOCATION: Alunan Avenue, Koronadal City, South Cotabato, Philippines
LOT 4 | GLASS PANEL SUPPLIES |  |  |  | 0
ITEM NO. | DESCRIPTION | UNIT | QTY. | UNIT PRICE | TOTAL PRICE PER ITEM
VIII.5 | 6mm THK Bronze Glass 1.125x2.10m | 1 | sets |  | 0
VIII.6 | 1"X2" Rectangular tube (Aluminum) | 1 | pcs |  | 0
VIII.7 | Frosted film(1.0m width) | 8 | ln.m. |  | 0

## Lot 5 Backfill Soil
PROJECT TITLE: SUPPLY AND DELIVERY OF MATERIALS FOR THE COMPLETION OF PMO BUILDING IN KORONADAL CITY
PROJECT LOCATION: Alunan Avenue, Koronadal City, South Cotabato, Philippines
LOT 5 | BACKFILL SOIL |  |  |  | 0
ITEM NO. | DESCRIPTION | UNIT | QTY. | UNIT PRICE | TOTAL PRICE PER ITEM
XII. | BACKFILL SOIL | 116 | cu.m. |  | 0